Technical Support Document (TSD) for the CAA Section 111(d) Emission Guidelines for Existing Power Plants

New Source Complements to Mass Goals Technical Support Document for CPP Final Rule

U.S Environmental Protection Agency

Office of Air and Radiation

August 2015

**New Source Complements to Mass Goals under 111(d)**

This Technical Support Document (TSD) provides information that supports the EPA’s quantification of new source complements in Section VIII.J of the preamble. These new source complements represent the EPA’s estimated new source emissions associated with satisfying incremental demand from 2012. States may add these new source complements to the final rule’s mass goals in pursuing a mass-based compliance pathway inclusive of both affected EGUs and new fossil fuel-fired sources. The methodology for quantifying these new source complements is presented in five steps:

1. Calculate incremental generation needed for each interconnection to satisfy projected load growth from 2012 levels[[1]](#footnote-2)
2. Subtract generation from under construction facilities included in the final rule
3. Subtract generation growth from affected EGUs and incremental renewable energy (RE) accounted for in the calculation of mass goals
4. Apportion remaining incremental generation to states on the basis of each state’s 2012 share of the interconnection’s affected EGU generation total[[2]](#footnote-3)
5. Convert state-level incremental generation to state-level incremental emissions by assuming the New Source Performance Standard emission rate for NGCC of 1,030 lbs/MWh

The spreadsheet ‘New Source Complements’ is available in the docket and provides the complete set of calculations for each state.

1. **Calculate incremental generation needed for each interconnection to satisfy projected load growth from 2012 levels**

For this step, the EPA relies on the projected net energy for load values from the Energy Information Administration’s (EIA’s) 2015 Annual Energy Outlook (AEO2015).[[3]](#footnote-4) Those values are presented in Table 1 for the baseline year of 2012 and all years, 2022 through 2030.

|  |  |  |  |
| --- | --- | --- | --- |
| **Table 1. Net Energy for Load by Interconnection (TWh)** | | | |
| **Year** | **Eastern Interconnection** | **Western Interconnection** | **Texas Interconnection** |
| 2012 | 2,881 | 730 | 333 |
| 2022 | 3,094 | 775 | 361 |
| 2023 | 3,114 | 782 | 365 |
| 2024 | 3,137 | 789 | 369 |
| 2025 | 3,158 | 797 | 372 |
| 2026 | 3,178 | 803 | 376 |
| 2027 | 3,196 | 810 | 380 |
| 2028 | 3,213 | 816 | 383 |
| 2029 | 3,231 | 823 | 387 |
| 2030 | 3,245 | 829 | 391 |

The AEO projections are then converted into a percent increase in net energy for load, relative to 2012, for each interconnection and each year. Conversion to a percent increase enables the EPA to apply the projected demand growth to 2012 historical data.

|  |  |  |  |
| --- | --- | --- | --- |
| **Table 2. Increase in Net Energy for Load From 2012 (%)** | | | |
| **Year** | **Eastern Interconnection** | **Western Interconnection** | **Texas Interconnection** |
| 2022 | 7.4% | 6.2% | 8.6% |
| 2023 | 8.1% | 7.1% | 9.6% |
| 2024 | 8.9% | 8.2% | 10.8% |
| 2025 | 9.6% | 9.2% | 11.9% |
| 2026 | 10.3% | 10.1% | 13.0% |
| 2027 | 10.9% | 11.0% | 14.0% |
| 2028 | 11.5% | 11.9% | 15.1% |
| 2029 | 12.2% | 12.8% | 16.3% |
| 2030 | 12.7% | 13.6% | 17.4% |

The historical generation associated with each interconnection is calculated as 2012 historical sales adjusted to account for an average transmission loss factor of 7.51%:[[4]](#footnote-5)

* 2012 Generation = 2012 Sales × (1+ Transmission Losses)
* 2012 Eastern Interconnection Generation = 2,626,988 GWh × 1.0751 = 2,824,274 GWh
* 2012 Western Interconnection Generation = 671,260 GWh × 1.0751 = 721,672 GWh
* 2012 Texas Interconnection Generation = 365,467 GWh × 1.0751 = 392,914 GWh

For each year, 2022 through 2030, the incremental generation required to support demand growth is 2012 sales multiplied by the percent increase in net energy for load for that year.[[5]](#footnote-6) For example:

* 2030 Incremental Generation to Support Demand Growth in the Eastern Interconnection = 2,824,274 GWh × 12.7% = 357,353 GWh

Table 3 contains the incremental generation to support demand growth for each interconnection in each year:

|  |  |  |  |
| --- | --- | --- | --- |
| **Table 3. Incremental Generation to Support Demand Growth (GWh)** | | | |
| **Year** | **Eastern Interconnection** | **Western Interconnection** | **Texas Interconnection** |
| 2022 | 209,623 | 44,887 | 33,605 |
| 2023 | 228,901 | 51,476 | 37,525 |
| 2024 | 251,878 | 59,148 | 42,332 |
| 2025 | 272,214 | 66,281 | 46,616 |
| 2026 | 291,203 | 72,570 | 51,229 |
| 2027 | 308,827 | 79,060 | 55,042 |
| 2028 | 325,981 | 85,759 | 59,323 |
| 2029 | 343,525 | 92,729 | 64,065 |
| 2030 | 357,353 | 98,181 | 68,244 |

1. **Subtract generation from under construction facilities included in the final rule**

The incremental generation to support demand growth calculated in step 1 would be served in part by the under construction facilities that are part of the final rule but not reflected in the 2012 historical data. Table 4 displays the under construction capacity that did not commence operations in 2012 for each facility type – affected coal-fired EGUs, affected natural gas-fired EGUs, and nuclear units that are eligible for compliance.[[6]](#footnote-7)

|  |  |  |  |
| --- | --- | --- | --- |
| **Table 4. Under Construction Facilities by Interconnection (MW)** | | | |
| **Facility Type** | **Eastern Interconnection** | **Western Interconnection** | **Texas Interconnection** |
| NGCC | 10,633 | 2,636 | 2,489 |
| Coal | 655 | 0 | 0 |
| Nuclear | 5,522 | 0 | 0 |

Each facility type is assigned an annual net capacity factor associated with the amount of generation expected to meet future demand. This capacity factor does not represent expected total annual output, but instead represents the portion of total annual output that will deduct from the incremental generation needed to support demand growth.[[7]](#footnote-8) For example, and consistent with the application of building block 2, under construction NGCC is assigned a capacity factor associated with future demand of 55%; coal-fired EGUs are assigned a capacity factor of 60%; and nuclear facilities are assigned a capacity factor of 66%.[[8]](#footnote-9) The generation totals associated with applying these capacity factors to under construction facilities are shown in Table 5:

|  |  |  |  |
| --- | --- | --- | --- |
| **Table 5. Incremental Generation Assumed to Meet Future Demand from Under Construction Facilities by Interconnection (GWh)** | | | |
| **Facility Type** | **Eastern Interconnection** | **Western Interconnection** | **Texas Interconnection** |
| NGCC | 51,231 | 12,702 | 11,991 |
| Coal | 3,443 | 0 | 0 |
| Nuclear | 31,926 | 0 | 0 |

1. **Subtract generation growth from affected EGUs and incremental RE accounted for in the calculation of mass goals**

The calculation of mass goals incorporates an amount of generation growth from both affected EGUs and RE that would serve to meet future demand requirements.[[9]](#footnote-10) Consequently, because the estimated emissions from this particular incremental generation are already included in the mass goals, it is necessary to deduct this amount of generation, listed in Table 6, from the incremental generation needed to support demand growth that will inform the estimation of the new source complements.

|  |  |  |  |
| --- | --- | --- | --- |
| **Table 6. Affected EGU and RE Generation Growth Incorporated in Mass Goal Calculation (GWh)** | | | |
| **Year** | **Eastern Interconnection** | **Western Interconnection** | **Texas Interconnection** |
| 2022 | 138,054 | 29,209 | 22,689 |
| 2023 | 131,858 | 27,898 | 21,670 |
| 2024 | 135,132 | 28,591 | 22,208 |
| 2025 | 149,186 | 31,565 | 24,518 |
| 2026 | 161,395 | 34,148 | 26,525 |
| 2027 | 164,934 | 34,897 | 27,106 |
| 2028 | 191,779 | 40,576 | 31,518 |
| 2029 | 218,279 | 46,183 | 35,873 |
| 2030 | 241,664 | 51,131 | 39,716 |

The amount of generation remaining after deducting the generation growth incorporated in mass goals is referred to as the new source complement generation, and it is defined as:

* Interconnection-level new source complement generation = Incremental generation to support demand growth – Generation from under construction facilities dedicated to serving future demand (step 2) – Generation growth from affected EGUs and RE assumed in the mass goal calculation (step 3)[[10]](#footnote-11)
* Eastern Interconnection new source complement generation in 2030 = 357,353 GWh – 86,600 GWh – 241,664 GWh = 29,090 GWh

The new source complement generation for each interconnection in each year is provided below in Table 7:

|  |  |  |  |
| --- | --- | --- | --- |
| **Table 7. Interconnection-Level New Source Complement Generation (GWh)** | | | |
| **Year** | **Eastern Interconnection** | **Western Interconnection** | **Texas Interconnection** |
| 2022 | - | 2,976 | - |
| 2023 | 10,443 | 10,876 | 3,864 |
| 2024 | 30,146 | 17,855 | 8,133 |
| 2025 | 36,428 | 22,015 | 10,107 |
| 2026 | 43,208 | 25,720 | 12,714 |
| 2027 | 57,294 | 31,462 | 15,945 |
| 2028 | 47,602 | 32,480 | 15,814 |
| 2029 | 38,647 | 33,844 | 16,200 |
| 2030 | 29,090 | 34,349 | 16,537 |

1. **Apportion remaining incremental generation to states on the basis of each state’s 2012 share of the interconnection’s affected EGU generation total**

The apportionment of interconnection-level new source complement generation to states is performed on the basis of each state’s 2012 adjusted share of the interconnection’s 2012 adjusted affected EGU generation.[[11]](#footnote-12) For the purposes of this calculation, states that are in multiple interconnections are assigned the interconnection that contains the majority of that state’s territory. Each state’s new source complement generation share is provided in Table 8 below:[[12]](#footnote-13)

|  |  |  |
| --- | --- | --- |
| **Table 8. Generation Shares for State-Level Apportionment** | | |
| **State** | **Interconnection** | **Share of Interconnection 2012 Affected EGU Generation**[[13]](#footnote-14) |
| Alabama | Eastern | 5.0% |
| Arkansas | Eastern | 2.4% |
| Arizona | Western | 12.5% |
| California | Western | 24.9% |
| Colorado | Western | 10.9% |
| Connecticut | Eastern | 0.8% |
| Delaware | Eastern | 0.5% |
| Florida | Eastern | 10.3% |
| Lands of the Fort Mojave Tribe | Western | 0.3% |
| Georgia | Eastern | 4.0% |
| Iowa | Eastern | 1.8% |
| Idaho | Western | 0.8% |
| Illinois | Eastern | 4.8% |
| Indiana | Eastern | 5.5% |
| Kansas | Eastern | 1.5% |
| Kentucky | Eastern | 4.4% |
| Louisiana | Eastern | 2.9% |
| Massachusetts | Eastern | 1.3% |
| Maryland | Eastern | 1.0% |
| Maine | Eastern | 0.2% |
| Michigan | Eastern | 3.7% |
| Minnesota | Eastern | 1.7% |
| Missouri | Eastern | 3.9% |
| Mississippi | Eastern | 2.4% |
| Montana | Western | 3.7% |
| Lands of the Navajo Nation | Western | 7.1% |
| North Carolina | Eastern | 4.1% |
| North Dakota | Eastern | 1.4% |
| Nebraska | Eastern | 1.3% |
| New Hampshire | Eastern | 0.4% |
| New Jersey | Eastern | 1.8% |
| New Mexico | Western | 4.6% |
| Nevada | Western | 6.8% |
| New York | Eastern | 3.1% |
| Ohio | Eastern | 5.6% |
| Oklahoma | Eastern | 3.4% |
| Oregon | Western | 4.0% |
| Pennsylvania | Eastern | 7.4% |
| Rhode Island | Eastern | 0.4% |
| South Carolina | Eastern | 2.0% |
| South Dakota | Eastern | 0.3% |
| Tennessee | Eastern | 2.1% |
| Texas | Texas | 100.0% |
| Lands of the Uintah and Ouray Reservation | Western | 0.7% |
| Utah | Western | 8.6% |
| Virginia | Eastern | 2.7% |
| Washington | Western | 4.7% |
| Wisconsin | Eastern | 2.1% |
| West Virginia | Eastern | 3.6% |
| Wyoming | Western | 10.4% |

The new source complement generation level for a state is defined as:

* State-level new source complement generation = Interconnection-level new source complement generation × 2012 state share of interconnection affected EGU generation
* 2030 Alabama new source complement generation = 29,090 GWh × 5.0% = 1,467 GWh

State-level new source complement generation totals are provided for each state in each year in the ‘New Source Complements’ spreadsheet.

1. **Convert state-level generation to state-level emissions assuming the emissions intensity of the New Source Performance Standard emission rate for NGCC of 1,030 lbs/MWh**

Each state-level new source complement generation level is multiplied by the NSPS NGCC emission rate standard of 1,030 lbs/MWh to produce a mass value:

* New source complement = State-level new source complement generation × NSPS NGCC emission rate standard
* 2030 Alabama new source complement = 1,467 GWh × 1,030 lbs/MWh = 755,700 short tons

New source complements are calculated for each year and each state, from 2022 through 2030. The interim period new source complement is equal to the average of the annual values from 2022 through 2029. The final period new source complement is equal to the 2030 value. The interim and final period new source complements are provided in Table 9 below:[[14]](#footnote-15)

|  |  |  |
| --- | --- | --- |
| **Table 9. Average Annual New Source Complement (Short Tons)** | | |
| **State** | **Interim Period** | **Final Period** |
| Alabama | 856,524 | 755,700 |
| Arizona | 1,424,998 | 2,209,446 |
| Arkansas | 411,315 | 362,897 |
| California | 2,846,529 | 4,413,516 |
| Colorado | 1,239,916 | 1,922,478 |
| Connecticut | 135,410 | 119,470 |
| Delaware | 78,842 | 69,561 |
| Florida | 1,753,276 | 1,546,891 |
| Georgia | 677,284 | 597,559 |
| Idaho | 94,266 | 146,158 |
| Illinois | 818,349 | 722,018 |
| Indiana | 939,343 | 828,769 |
| Iowa | 298,934 | 263,745 |
| Kansas | 260,683 | 229,997 |
| Kentucky | 752,454 | 663,880 |
| Louisiana | 484,308 | 427,299 |
| Maine | 40,832 | 36,026 |
| Maryland | 170,930 | 150,809 |
| Massachusetts | 225,127 | 198,626 |
| Michigan | 623,651 | 550,239 |
| Minnesota | 286,535 | 252,806 |
| Mississippi | 410,440 | 362,126 |
| Missouri | 668,637 | 589,929 |
| Montana | 421,674 | 653,801 |
| Nebraska | 216,149 | 190,706 |
| Nevada | 770,417 | 1,194,523 |
| New Hampshire | 71,419 | 63,012 |
| New Jersey | 313,526 | 276,619 |
| New Mexico | 527,139 | 817,323 |
| New York | 522,227 | 460,753 |
| North Carolina | 692,091 | 610,623 |
| North Dakota | 245,324 | 216,446 |
| Ohio | 949,997 | 838,170 |
| Oklahoma | 581,051 | 512,654 |
| Oregon | 453,663 | 703,399 |
| Pennsylvania | 1,257,336 | 1,109,330 |
| Rhode Island | 70,035 | 61,791 |
| South Carolina | 344,885 | 304,287 |
| South Dakota | 46,513 | 41,038 |
| Tennessee | 358,838 | 316,598 |
| Texas | 5,328,758 | 8,516,408 |
| Utah | 981,947 | 1,522,500 |
| Virginia | 450,039 | 397,063 |
| Washington | 531,761 | 824,490 |
| West Virginia | 602,940 | 531,966 |
| Wisconsin | 364,841 | 321,895 |
| Wyoming | 1,185,554 | 1,838,190 |
| Lands of the Navajo Nation | 809,562 | 1,255,217 |
| Lands of the Uintah and Ouray Reservation | 84,440 | 130,923 |
| Lands of the Fort Mojave Tribe | 37,162 | 57,619 |

1. In this document, unless otherwise indicated, “incremental” means beyond the level observed in 2012. [↑](#footnote-ref-2)
2. Affected EGU generation total is equal to the 2012 adjusted baseline used to calculate goal rates [↑](#footnote-ref-3)
3. Net energy for load is defined by the EIA as the net generation of main generating units that are system-owned or system-operated, plus energy receipts minus energy deliveries [↑](#footnote-ref-4)
4. The 7.51% scalar represents an average historical difference between total net generation of electricity and retail sales of electricity. http://www.eia.gov/electricity/state/pdf/sep2010.pdf a [↑](#footnote-ref-5)
5. This relationship assumes that the international export/import balance remains constant at 2012 levels and all incremental demand is met with generation from the U.S. [↑](#footnote-ref-6)
6. Under construction facilities that commenced operation in 2012 are excluded from this adjustment due to the unknown impact their full-year operations would have on the 2012 data. Instead, the assumed output of full-year operations from these facilities is reflected in each state’s adjusted 2012 baseline generation total, which is the basis for apportioning interconnection-level new source complement generation to state-level new source complement generation. [↑](#footnote-ref-7)
7. The amount of generation from under construction facilities that is expected to replace existing source generation is irrelevant to the calculation of new source emissions associated with satisfying incremental demand from 2012. [↑](#footnote-ref-8)
8. The 66% capacity factor assigned to nuclear is set at the same ratio of future demand to total output (66% dedicated to future demand; total output of 90%) as under construction NGCCs in building block 2 (55% dedicated to future demand; total output of 75%) [↑](#footnote-ref-9)
9. For more information, please see section VII of the preamble and the CO2 Emission Performance Rate and Goal Computation TSD [↑](#footnote-ref-10)
10. For the year 2022, this procedure yields negative incremental generation results in the Eastern and Texas Interconnections, because under-construction capacity and the amount of generation growth already represented in the mass goals would suffice to meet projected load growth in that year. As a result, the new source complement generation in these instances is assigned a value of zero. [↑](#footnote-ref-11)
11. The goal rates are calculated based on adjusted 2012 generation data to reflect the impact of significant unit outages, estimated impact of normalizing hydropower output, and all under construction facilities [↑](#footnote-ref-12)
12. For full generation data, refer to ‘New Source Complements’ spreadsheet [↑](#footnote-ref-13)
13. Values rounded to tenth of a percent; for unrounded values refer to ‘New Source Complements’ spreadsheet [↑](#footnote-ref-14)
14. Final and interim period new source complements are rounded up to the nearest ton. Total mass values for each period are available in the ‘New Source Complements’ spreadsheet, available in the docket. [↑](#footnote-ref-15)